## 位移电压曲线Travel & Voltage
位移与电压曲线/Displacement vs Voltage Curve
|  | 电压Voltage (V) | 开环Open-loop | 闭环/Closed-loop
|  |  | 位移Displacement (µm) | 位移Displacement (µm)
|  | 0 | 0 | 0
www.coremorrow.com | 微信服务号/Wechat | 12 | 6.8776 | 9.3329
|  | 24 | 15.2792 | 18.7063
|  | 36 | 24.6864 | 28.0758
|  | 48 | 34.8704 | 37.4541
|  | 60 | 45.4997 | 46.8392
测试环境/Test Condition |  | 72 | 56.3254 | 56.2283
型号/Model | P92.X100C | 84 | 67.0678 | 65.6289
测试温度/Temperature | 20℃，31%RH | 96 | 77.4885 | 75.0337
负载/Load | 空载Unloaded | 108 | 87.5005 | 84.442
电压范围/Voltage | 0~120V | 120 | 96.9897 | 93.8649
|  | 108 | 91.3822 | 84.4403
|  | 96 | 84.2912 | 75.0482
|  | 84 | 76.2517 | 65.6545
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch. |  | 72 | 67.4458 | 56.2701
|  | 60 | 57.918 | 46.8872
|  | 48 | 47.7229 | 37.4886
|  | 36 | 36.8695 | 28.1276
|  | 24 | 25.5063 | 18.7372
|  | 12 | 13.5937 | 9.3667
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。 |  | 0 | 1.7097 | 0.00891
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 谐频与负载Freq vs Load
谐振频率曲线/Resonant frequency Curve
|  | 负载Load[g] | 谐振频率Resonant frequency (Hz)
|  | 0 | 252
www.coremorrow.com | 微信服务号/Wechat | 100 | 237
|  | 200 | 225
|  | 500 | 197
|  | 1000 | 167
|  | 2000 | 133
测试环境/Test Condition |  | 3000 | 114
型号/Model | P92.X100C | 5000 | 92
测试温度/Temperature | 20℃，31%RH | 10000 | 67
|  | 20000 | 48
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 线性度Linearity
线性度/Linearity
|  | 控制输入Control input（V） | 输出位移Displacement（μm） | 偏差位移Deviation（μm） | 线性度Linearity（%F.S.）
|  | 0 | 0 | 0 | 0
|  | 1 | 9.3329 | -0.0536 | -0.057103
www.coremorrow.com | 微信服务号/Wechat | 2 | 18.7063 | -0.0668 | -0.071166
|  | 3 | 28.0758 | -0.0836 | -0.089064
|  | 4 | 37.4541 | -0.092 | -0.098013
|  | 5 | 46.8392 | -0.0932 | -0.099292
|  | 6 | 56.2283 | -0.0906 | -0.096522
测试环境/Test Condition |  | 7 | 65.6289 | -0.0766 | -0.081607
型号/Model | P92.X100C | 8 | 75.0337 | -0.0582 | -0.062004
测试温度/Temperature | 20℃，31%RH | 9 | 84.442 | -0.0364 | -0.038779
负载/Load | 空载Unloaded | 10 | 93.8649 | 0 | 0
电压范围/Voltage | 0~150V
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.