## 位移电压曲线Travel & Voltage
位移与电压曲线/Displacement vs Voltage Curve
|  | 电压Voltage (V) | 开环Open-loop | 闭环/Closed-loop
|  |  | 位移Displacement (µm) | 位移Displacement (µm)
|  | 0 | -172.8625 | -165.5555
www.coremorrow.com | 微信服务号/Wechat | 15 | -149.5165 | -132.6485
|  | 30 | -121.8585 | -99.5965
|  | 45 | -90.5725 | -66.5275
|  | 60 | -56.4845 | -33.4215
|  | 75 | -20.4505 | -0.2405
测试环境/Test Condition |  | 90 | 16.9275 | 32.9445
型号/Model | XD603.X300S | 105 | 55.1725 | 66.1675
测试温度/Temperature | 20℃，31%RH | 120 | 93.9625 | 99.3315
负载/Load | 负载600g | 135 | 133.2625 | 132.4615
电压范围/Voltage | 0~150V | 150 | 172.8625 | 165.5555
|  | 135 | 149.5125 | 132.4635
|  | 120 | 121.1765 | 99.3625
|  | 105 | 89.4885 | 66.1995
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch. |  | 90 | 55.2575 | 33.0075
|  | 75 | 19.3125 | -0.1725
|  | 60 | -17.7205 | -33.3825
|  | 45 | -55.4685 | -66.5505
|  | 30 | -93.4765 | -99.6615
|  | 15 | -131.5165 | -132.7135
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。 |  | 0 | -169.3015 | -165.6755
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.
165.5555
165.5555

## 谐频与负载Freq vs Load
谐振频率曲线/Resonant frequency Curve
|  | 负载Load[g] | 谐振频率Resonant frequency (Hz)
|  | 0 | 490
www.coremorrow.com | 微信服务号/Wechat | 50 | 424
|  | 100 | 380
|  | 200 | 320
|  | 300 | 283
|  | 400 | 256
测试环境/Test Condition |  | 500 | 235
型号/Model | XD603.X300S | 600 | 220
测试温度/Temperature | 20℃，31%RH
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 线性度Linearity
线性度/Linearity
|  | 控制输入Control input（V） | 输出位移Displacement（μm） | 偏差位移Deviation（μm） | 线性度Linearity（%F.S.）
|  | 0 | 0 | 0 | 0
|  | 1 | 32.907 | -0.2041 | -0.061641
www.coremorrow.com | 微信服务号/Wechat | 2 | 65.959 | -0.2632 | -0.07949
|  | 3 | 99.028 | -0.3053 | -0.092205
|  | 4 | 132.134 | -0.3104 | -0.093745
|  | 5 | 165.315 | -0.2405 | -0.072634
|  | 6 | 198.5 | -0.1666 | -0.050315
测试环境/Test Condition |  | 7 | 231.723 | -0.0547 | -0.01652
型号/Model | XD603.X300S | 8 | 264.887 | -0.0018 | -0.00054362
测试温度/Temperature | 20℃，31%RH | 9 | 298.017 | 0.0171 | 0.0051644
负载/Load | 负载600g | 10 | 331.111 | 0 | 0
电压范围/Voltage | 0~150V
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.